LAKE KASHGAWIGMOG WATER TESTING

Date:   Aug 20, 2017

Time:  1230 -1500

Air Temperature: 21C

Water Temp at control site: 21C

Secchi Disk Reading at Control site:  4.70M

| Site# | Site Location | Raw Cloriform | Coliform MPN Per 100 ml sample | Raw Ecoli | EColi MPN per 100ml Sample |
| --- | --- | --- | --- | --- | --- |
| 1 | Drag River at Grass L |  | 136 |  | 49 |
| 2 | Bonnie view/Halimar |  | 161 |  | 55 |
| 3 | Wigamog |  | 83 |  | 49 |
| 4 | Marcus Beach |  | 22 |  | <3 |
| 5 | Soyers L. Bridge |  | 114 |  | 114 |
| 6 | Control site 130’ depth |  | 5 |  | <3 |
| 7 | Ingoldsby 200’ from bridge |  | 36 |  | 5 |
| 8 | Chateau Woodland |  | 11 |  | 3 |
| 9 | Drag River at Head Lake |  | - |  | - |
| 10 | Willow Beach |  | 87 |  | 69 |

Other Comments :  Beautiful day, low wave action.  Did not do Drag River at  Head Lake due to Boat Races

Readings of 1000 Plus for Coliform/or 100 Plus for Ecoli should be retested and if result verified – action should be taken as the water is unsafe for swimming